## Tabel Item KHS
| khs_id | kategori | nama_item | satuan_id | harga_satuan | tkdn
1 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 6 mm2 | bh | 31770 | 89.48
2 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 10 mm2 | bh | 31770 | 89.48
3 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 10 mm2 | bh | 34070 | 89.48
4 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 6 mm2 | bh | 34070 | 89.48
5 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 10 mm2 | bh | 34070 | 89.48
6 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 16 mm2 | bh | 34070 | 89.48
7 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 25 - 25 mm2 | bh | 57140 | 89.48
8 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 35 - 35 mm2 | bh | 57140 | 89.48
9 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 35 - 50 mm2 | bh | 57140 | 89.48
10 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 25 mm2 | bh | 76500 | 89.48
11 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 35 mm2 | bh | 76500 | 89.48
12 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 50 mm2 | bh | 76500 | 89.48
13 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 70 mm2 | bh | 76500 | 89.48
14 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 50 mm2 | bh | 82380 | 89.48
15 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 70 mm2 | bh | 82380 | 89.48
16 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 95 mm2 | bh | 82380 | 89.48
17 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 95 - 70 mm2 | bh | 103570 | 89.48
18 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 95 - 95 mm2 | bh | 103570 | 89.48
19 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 120 - 120 mm2 | bh | 111810 | 89.48
20 | JTM | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 150 - 150 mm2 | bh | 116280 | 89.48
21 | JTM | Material | Compression Joint + Heatshrink ( CU ) 4 - 4 mm2 | bh | 9300 | 50
22 | JTM | Material | Compression Joint + Heatshrink ( CU ) 10 - 10 mm2 | bh | 10590 | 50
23 | JTM | Material | Compression Joint + Heatshrink ( CU ) 16 - 16 mm2 | bh | 11700 | 50
24 | JTM | Material | Joint Sleeve compresion 35 / 70 mm (Al/Cu) | bh | 62710 | 20.23
25 | JTM | Material | Joint Sleeve compresion 70 / 70 mm (Al/Cu) | bh | 67400 | 20.23
26 | JTM | Material | Compression tension joint AAAC 25-35 mm2 | bh | 38330 | 67.31
27 | JTM | Material | Compression tension joint AAAC 50 mm2 | bh | 48630 | 67.31
28 | JTM | Material | Compression tension joint AAAC 70 mm2 | bh | 63150 | 67.31
29 | JTM | Material | Compression tension joint AAAC 95 mm2 | bh | 87330 | 67.31
30 | JTM | Material | Compression tension joint AAAC 120 mm2 | bh | 106330 | 67.31
31 | JTM | Material | Compression tension joint AAAC 150 mm2 | bh | 109390 | 67.31
32 | JTM | Material | Compression tension joint AAAC 185 mm2 | bh | 143420 | 67.31
33 | JTM | Material | Compression tension joint AAAC 240 mm2 | bh | 142420 | 67.31
34 | JTM | Material | Compression connector AL 70 - 70 mm2 ( CCO ) | bh | 19390 | 50.88
35 | JTM | Material | Compression connector AL 70 - 150 mm2 ( CCO ) | bh | 26270 | 50.88
36 | JTM | Material | Compression connector AL 150 - 150 mm2 ( CCO ) | bh | 29180 | 50.88
37 | JTM | Material | Compression connector AL 150 - 240 mm2 ( CCO ) | bh | 25840 | 50.88
38 | JTM | Material | Compression connector AL 240 - 240 mm2 ( CCO ) | bh | 40890 | 50.88
39 | JTM | Material | Parallel Groove Clamp AL / AL 25 - 70 mm2 | bh | 19600 | 69.8
40 | JTM | Material | Parallel Groove Clamp AL / AL 70 - 150 mm2 | bh | 39050 | 69.8
41 | JTM | Material | Parallel Groove Clamp AL / AL 150 - 240 mm2 | bh | 49800 | 68.42
42 | JTM | Material | Compression non tension joint LVTC + heat shrink 35 mm² | bh | 22500 | 68.17
43 | JTM | Material | Compression non tension joint LVTC + heat shrink 50 mm² | bh | 25500 | 68.17
44 | JTM | Material | Compression non tension joint LVTC + heat shrink 70 mm² | bh | 31500 | 68.17
45 | JTM | Material | Compression non tension joint LVTC + heat shrink 95 mm² | bh | 35000 | 68.17
46 | JTM | Material | Compression non tension joint LVTC + heat shrink 120 mm² | bh | 42680 | 68.17
47 | JTM | Material | Compression non tension joint LVTC + heat shrink 150 mm² | bh | 54630 | 68.17
48 | JTM | Material | Compression non tension joint LVTC + heat shrink 185 mm² | bh | 64490 | 68.17
49 | JTM | Material | Compression non tension joint LVTC + heat shrink 240 mm² | bh | 71900 | 68.17
50 | JTM | Material | Live Line Clamp (LLC) 35 - 70 mm | bh | 204700 | 50
51 | JTM | Material | Live Line Clamp (LLC) 70 - 150 mm | bh | 323450 | 50
52 | JTM | Material | Vinyl /tanda fasa kabel 70 mm | bh | 11500 | 50
53 | JTM | Material | Vinyl /tanda fasa kabel 95 mm | bh | 13300 | 50
54 | JTM | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 1.200 mm | bh | 415400 | 50
55 | JTM | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 2000 mm | bh | 550940 | 50
56 | JTM | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 2400 mm | bh | 706570 | 50
57 | JTM | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 600 mm) | bh | 203440 | 50
58 | JTM | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 750 mm) | bh | 225220 | 50
59 | JTM | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 2400 mm) | bh | 429410 | 50
60 | JTM | Material | Travers/ Cross arm UNP 80 x 50 x 5 x 2000 mm | bh | 514790 | 49.76
61 | JTM | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 1000 mm | bh | 363570 | 49.76
62 | JTM | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 1200 mm | bh | 415400 | 49.76
63 | JTM | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 2000 mm | bh | 550940 | 49.76
64 | JTM | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 2400 mm | bh | 706570 | 50.33
65 | JTM | Material | Tupang Travers/Cross arm/Besi Strip | bh | 61700 | 50
66 | JTM | Material | Besi L panjang 700 mm, 50x50x5mm. | bh | 101270 | 50
67 | JTM | Material | Besi L panjang 1200 mm, 50x50x5mm. | bh | 173590 | 50
68 | JTM | Material | Dudukan gardu tiang 1 phasa cantol | set | 1368700 | 50
69 | JTM | Material | Dudukan gardu tiang 3 phasa cantol | set | 2238440 | 50
70 | JTM | Material | Dudukan gardu tiang 3 phasa portal | set | 4243060 | 50
71 | JTM | Material | Pole mounthing bracket for FCO. | bh | 27100 | 50
72 | JTM | Material | Pole mounthing bracket for LA. | bh | 27100 | 50
73 | JTM | Material | Papan kayu 200x30x3 cm Papan Kayu Kelas I (2 Lembar) | set | 387260 | 50
74 | JTM | Material | Plat Bordes 2320x600x min1,6 mm | bh | 439140 | 50
75 | JTM | Material | Terminal lugs /Sepatu Cable Al 35 mm² | bh | 13900 | 60.68
76 | JTM | Material | Terminal lugs /Sepatu Cable Al 50 mm² | bh | 16400 | 60.68
77 | JTM | Material | Terminal lugs /Sepatu Cable Al 70 mm² | bh | 17900 | 60.68
78 | JTM | Material | Terminal lugs /Sepatu Cable Al 95 mm² | bh | 26700 | 60.68
79 | JTM | Material | Terminal lugs /Sepatu Cable Al 120 mm² | bh | 42370 | 60.68
80 | JTM | Material | Terminal lugs /Sepatu Cable Al 150 mm² | bh | 45300 | 60.68
81 | JTM | Material | Terminal lugs /Sepatu Cable Al 185 mm² | bh | 52390 | 60.68
82 | JTM | Material | Terminal lugs /Sepatu Cable Al 240 mm² | bh | 67970 | 60.68
83 | JTM | Material | Terminal lugs /Sepatu Cable Cu 25 mm² | bh | 41100 | 96.64
84 | JTM | Material | Terminal lugs /Sepatu Cable Cu 35 mm² | bh | 40090 | 96.64
85 | JTM | Material | Terminal lugs /Sepatu Cable Cu 50 mm² | bh | 58000 | 96.64
86 | JTM | Material | Terminal lugs /Sepatu Cable Cu 70 mm² | bh | 66130 | 96.64
87 | JTM | Material | Terminal lugs /Sepatu Cable Cu 95 mm² | bh | 86440 | 96.64
88 | JTM | Material | Terminal lugs /Sepatu Cable Cu 120 mm² | bh | 91520 | 96.64
89 | JTM | Material | Terminal lugs /Sepatu Cable Cu 150 mm² | bh | 135790 | 96.64
90 | JTM | Material | Terminal lugs /Sepatu Cable Cu 185 mm² | bh | 218500 | 96.64
91 | JTM | Material | Terminal lugs /Sepatu Cable Cu 240 mm² | bh | 267000 | 96.64
92 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 25 mm² | bh | 41100 | 89.6
93 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 35 mm² | bh | 41800 | 89.6
94 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 50 mm² | bh | 58000 | 89.6
95 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 70 mm² | bh | 67100 | 89.6
96 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 70 mm² (2 lubang) | bh | 77480 | 89.6
97 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 95 mm² | bh | 88400 | 89.6
98 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 120 mm² | bh | 93400 | 89.6
99 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 150 mm² (1 lubang) | bh | 94610 | 89.6
100 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 150 mm² (2 lubang) | bh | 117510 | 89.6
101 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 185 mm² (2 lubang) | bh | 168400 | 89.6
102 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 240 mm² (1 lubang) | bh | 104080 | 89.6
103 | JTM | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 240 mm² (2 lubang) | bh | 168660 | 89.6
104 | JTM | Material | Pipa galvanized 1" x 1.000 mm medium B | bh | 29200 | 25.43
105 | JTM | Material | Pipa galvanized 1" x 3.000 mm medium B | bh | 80500 | 25.43
106 | JTM | Material | Pipa galvanized 1" x 6.000 mm medium B | bh | 190590 | 25.43
107 | JTM | Material | Pipa galvanized 1.5" x 6.000 mm medium B | bh | 242660 | 25.43
108 | JTM | Material | Pipa galvanized 3" x 1.000 mm medium B | bh | 95900 | 25.43
109 | JTM | Material | Pipa galvanized 3" x 5.000 mm medium B | bh | 465750 | 25.43
110 | JTM | Material | Pipa galvanized 3" x 6.000 mm medium B | bh | 434700 | 25.43
111 | JTM | Material | Pipa galvanized 4" x 6.000 mm medium A | bh | 921550 | 25.43
112 | JTM | Material | Pipa galvanized 4" x 6.000 mm medium B | bh | 832660 | 25.43
113 | JTM | Material | Pipa galvanized 5" x 6.000 mm medium A | bh | 1790840 | 25.43
114 | JTM | Material | Pipa galvanized 5" x 6.000 mm medium B | bh | 1365080 | 25.43
115 | JTM | Material | Pipa PVC 1" x 6.000 mm (Setara Maspion) | bh | 8800 | 44.03
116 | JTM | Material | Pipa PVC 3" x 6.000 mm (Setara Maspion) | bh | 106200 | 44.03
117 | JTM | Material | Pipa PVC 4" x 6.000 mm (Setara Maspion) | bh | 159250 | 44.03
118 | JTM | Material | Pipa PVC 5" x 6.000 mm (Setara Maspion) | bh | 164500 | 44.03
119 | JTM | Material | Knee galvanized 1" | bh | 18800 | 25.43
120 | JTM | Material | Knee galvanized 3" | bh | 63740 | 25.43
121 | JTM | Material | Knee galvanized 4" | bh | 220400 | 25.43
122 | JTM | Material | Knee galvanized 5" | bh | 63700 | 25.43
123 | JTM | Material | Knee PVC 1" | bh | 6900 | 44.03
124 | JTM | Material | Knee PVC 3" | bh | 36200 | 44.03
125 | JTM | Material | Knee PVC 4" | bh | 116280 | 44.03
126 | JTM | Material | Knee PVC 5" | bh | 194160 | 44.03
127 | JTM | Material | Penghalang panjat | bh | 118900 | 50
128 | JTM | Material | Papan tanda kilat/ Tanda bahaya | bh | 63100 | 50
129 | JTM | Material | Tanda bahaya di gardu | bh | 61600 | 50
130 | JTM | Material | Mur Baut 1/2" x 50 mm | bh | 8900 | 60.3
131 | JTM | Material | Mur Baut 1/2" x 70 mm | bh | 10490 | 60.3
132 | JTM | Material | Mur Baut 5/8" x 50 mm | bh | 17580 | 60.3
133 | JTM | Material | Mur Baut 5/8" x 100 mm | bh | 23600 | 60.3
134 | JTM | Material | Mur Baut 5/8" x 150 mm | bh | 24200 | 60.3
135 | JTM | Material | Mur Baut 5/8" x 200 mm | bh | 28900 | 60.3
136 | JTM | Material | Mur Baut 5/8" x 250 mm | bh | 34200 | 60.3
137 | JTM | Material | Mur Baut 5/8" x 300 mm | bh | 44200 | 60.3
138 | JTM | Material | Mur Baut 5/8" x 350mm | bh | 34200 | 60.3
139 | JTM | Material | Bolt double arming 5/8" x50 mm | bh | 14400 | 31.88
140 | JTM | Material | Bolt double arming 5/8" x200 mm | bh | 29960 | 31.88
141 | JTM | Material | Bolt double arming 5/8" x250 mm | bh | 31200 | 31.88
142 | JTM | Material | Bolt double arming 5/8" x300 mm | bh | 32300 | 31.88
143 | JTM | Material | Bolt double arming 5/8" x350 mm | bh | 35000 | 31.88
144 | JTM | Material | Bolt double arming 5/8" x400 mm | bh | 42100 | 31.88
145 | JTM | Material | Eye bolt 5/8" x 300 mm | bh | 17000 | 50
146 | JTM | Material | Ball Clevis | bh | 45700 | 50
147 | JTM | Material | Socket Eyes | bh | 45700 | 50
148 | JTM | Material | Cross Arm Clevis | bh | 40300 | 50
149 | JTM | Material | Strain Clamp AAAC , ACSR ( 2 Bolt ) 25 - 70 mm2 | bh | 56090 | 94.2
150 | JTM | Material | Strain Clamp AAAC , ACSR ( 2 Bolt ) 70 - 150 mm2 | bh | 72180 | 94.2
151 | JTM | Material | Strain Clamp AAAC , ACSR ( 3 Bolt ) 150 - 240 mm2 | bh | 156600 | 94.2
152 | JTM | Material | Strain Clamp AAAC , ACSR ( 3 Bolt ) 240 - 400 mm2 | bh | 194020 | 94.2
153 | JTM | Material | Beugel + mur baut | bh | 74600 | 52.38
154 | JTM | Material | Beugel + mur baut pengikat pipa 3" + mur baut | set | 94080 | 52.38
155 | JTM | Material | Double beugel / Clam Beugel | set | 69570 | 52.38
156 | JTM | Material | Double beugel khusus | set | 63400 | 52.38
157 | JTM | Material | Double beugel + Mur Baut Mata + Eye Bolt | set | 96270 | 52.38
158 | JTM | Material | Double beugel + spanscroef 5/8" / Clamp Schoer | set | 145380 | 52.38
159 | JTM | Material | Split bolt line tap to fit. | bh | 26600 | 50
160 | JTM | Material | Splice Jointing rod 70 mm | bh | 275750 | 50
161 | JTM | Material | Splice Jointing rod 150 mm | bh | 276100 | 50
162 | JTM | Material | Helical Dead End + Socket Timble for 70 mm | bh | 255630 | 50
163 | JTM | Material | Helical Dead End + Socket Timble for 150 mm | bh | 299530 | 50
164 | JTM | Material | Guy Insulator 12 kV | bh | 62400 | 50
165 | JTM | Material | Kaos baja / Thimble TM 5/8" | bh | 12800 | 50
166 | JTM | Material | Kaos baja / Thimble TM 3/4" | bh | 8200 | 50
167 | JTM | Material | Preformed dead end gsw 22 mm | bh | 41940 | 50
168 | JTM | Material | Preformed dead end gsw 35 mm | bh | 56000 | 50
169 | JTM | Material | Preformed dead end gsw 50 mm | bh | 41900 | 50
170 | JTM | Material | U - klem 35 - 50 mm | bh | 9200 | 50
171 | JTM | Material | Sackle Medium | bh | 25800 | 50
172 | JTM | Material | Turn Buckle Medium /Span scroef 5/8" | bh | 50080 | 50
173 | JTM | Material | Galvanized Steel Wire 22 mm2 | lubang | 12900 | 36.42
174 | JTM | Material | Galvanized Steel Wire 35 mm2 | lubang | 15450 | 36.42
175 | JTM | Material | Galvanized Steel Wire 50 mm2 | lubang | 17810 | 36.42
176 | JTM | Material | Galvanized Steel Wire 70 mm2 | lubang | 20100 | 36.42
177 | JTM | Material | Angker rod + klem penyambung + mur baut | bh | 127400 | 50
178 | JTM | Material | Plat beton bertulang 40x40x10 cm | bh | 57630 | 50
179 | JTM | Material | Plat beton bertulang 50x50x10 cm | bh | 90050 | 50
180 | JTM | Material | Expanding Anchoor Rod - TM 5/8" x 2,5 mtr | set | 358970 | 50
181 | JTM | Material | Expanding Anchoor Rod - TR 5/8" x 2 mtr | set | 247160 | 50
182 | JTM | Material | Armor Rod | bh | 205970 | 50
183 | JTM | Material | Guy Grip 22 mm2 | bh | 27000 | 50
184 | JTM | Material | Guy Grip 35 mm2 | bh | 42900 | 50
185 | JTM | Material | Guy Grip 70 mm2 | bh | 60020 | 50
186 | JTM | Material | Preformed Top Tie 35 mm2 | bh | 26830 | 31.49
187 | JTM | Material | Preformed Top Tie 70 mm2 | bh | 42950 | 31.49
188 | JTM | Material | Preformed Top Tie 150 mm2 | bh | 60020 | 31.49
189 | JTM | Material | Preformed Side Tie 35 mm2 | bh | 27060 | 31.49
190 | JTM | Material | Preformed Side Tie 70 mm2 | bh | 42950 | 31.49
191 | JTM | Material | Preformed Side Tie 150 mm2 | bh | 59430 | 31.49
192 | JTM | Material | Preformed Double Side Tie for 70 mm2 | bh | 76200 | 31.49
193 | JTM | Material | Bending Wire 5 mm2 | lubang | 14800 | 20.6
194 | JTM | Material | F Neck Double Side Ties without Armor Rod A3C 70 mm2 | bh | 83820 | 31.49
195 | JTM | Material | F Neck Top Ties W/O Armor Rood A3C 70 mm2 | bh | 59300 | 31.49
196 | JTM | Material | F Neck Plastic Top Ties Semicon A3C_S 70 mm2 | bh | 64000 | 31.49
197 | JTM | Material | F Neck Plastic Top Ties Semicon A3C_S 150 mm2 | bh | 68600 | 31.49
198 | JTM | Material | F Neck Plastic Top Ties Semicon A3C_S 240 mm2 | bh | 74800 | 31.49
199 | JTM | Material | F Neck Plastic Double Side Ties Semicon A3C_S 70 mm2 | bh | 117720 | 31.49
200 | JTM | Material | F Neck Plastic Double Side Ties Semicon A3C_S 150 mm2 | bh | 118010 | 31.49
201 | JTM | Material | F Neck Plastic Double Side Ties Semicon A3C_S 240 mm2 | bh | 116370 | 31.49
202 | JTM | Material | Small angle/Suspension Assembly 25-70 mm2 | bh | 79170 | 80.75
203 | JTM | Material | Fixed Dead end assembly 25-35 mm2 | bh | 90920 | 82.84
204 | JTM | Material | Fixed Dead end assembly 50-70 mm2 | bh | 103350 | 82.84
205 | JTM | Material | Adjustable Dead end assembly 25-35 mm2 | bh | 115870 | 82.84
206 | JTM | Material | Adjustable Dead end assembly 50-70 mm2 | bh | 118960 | 82.84
207 | JTM | Material | Large angle assembly 25-35 mm2 | bh | 101600 | 82.84
208 | JTM | Material | Large angle assembly 50-70 mm2 | bh | 122500 | 82.84
209 | JTM | Material | Electrical & Mechanical Protection Set 25-70 mm2 | bh | 116600 | 50
210 | JTM | Material | Stainless Steel Strap | lubang | 18150 | 50
211 | JTM | Material | Stopping Buckle | bh | 3360 | 50
212 | JTM | Material | Stopping Buckle Stainless Steel | bh | 5290 | 50
213 | JTM | Material | Link 25 x 25 mm | bh | 3350 | 50
214 | JTM | Material | Link 25 x 50 mm | bh | 4600 | 50
215 | JTM | Material | Sangga tupang tekan | bh | 84800 | 50
216 | JTM | Material | Connector kedap air 35-70mm2 | bh | 33420 | 50.02
217 | JTM | Material | Insulated tension joint 25 mm2 | bh | 23100 | 67.31
218 | JTM | Material | Insulated tension joint 35 mm2 | bh | 23100 | 67.31
219 | JTM | Material | Insulated tension joint 50 mm2 | bh | 25800 | 67.31
220 | JTM | Material | Insulated tension joint 70 mm2 | bh | 30000 | 67.31
221 | JTM | Material | Kawat BC draad 25 mm² | lubang | 65700 | 50
222 | JTM | Material | Kawat BC draad 50 mm² | lubang | 72290 | 50
223 | JTM | Material | Kawat BC draad 70 mm² | lubang | 80000 | 50
224 | JTM | Material | Pipa Arde 1,5 " x 3.000 mm lengkap | set | 502020 | 50
225 | JTM | Material | Unimax clamp 50 mm² / split bolt line tap for B27 | bh | 34100 | 50
226 | JTM | Material | Ground Rod + Clamp 5/8" x 2 mtr | set | 176550 | 50
227 | JTM | Material | Ground Rod + Clamp 5/8 x 2,5 mtr | set | 205980 | 50
228 | JTM | Material | Clamp C ( C Connector ) 50 - 70 mm2 | bh | 41190 | 50
229 | JTM | Material | Parallel Groove CU 50 mm2 | bh | 43100 | 50
230 | JTM | Material | Comp Connector CU for grounding 70 + rubber tape | bh | 47900 | 50
231 | JTM | Material | Suspension Assembly For MVTIC ( 0 - 10 Derajat ) | set | 473360 | 80.75
232 | JTM | Material | Suspension Assembly MVTIC for Large Angle ( 10 - 25 Derajat ) | set | 627200 | 80.75
233 | JTM | Material | Single Dead End Assembly For MVTIC | set | 593370 | 80.75
234 | JTM | Material | Double Dead End Assembly For MVTIC ( Peregang, > 25 derajat ) | set | 1145540 | 80.75
235 | JTM | Material | Dudukan Kubikel + Acrylic penutup | set | 958220 | 50
236 | JTM | Material | Double Beugel + Mour Baut untuk pipa 5" (Opstig KTM ) | set | 101410 | 50
237 | JTM | Material | Double Begel Galvanized 114 - 156 mm + baut | set | 85400 | 50
238 | JTM | Material | Double Begel Galvanized 175 - 215 mm + baut | set | 96250 | 50
239 | JTM | Material | Patok beton 20 x 20 x 70 cm tanda KTM PLN | bh | 93000 | 50
240 | JTM | Material | Insulation Piercing Connector 10-25 (SPM) | bh | 23600 | 50.02
241 | JTM | Material | Insulation Piercing Connector 35-70 (SPM) | bh | 40450 | 50.02
242 | JTM | Material | Plastic Strap For JTR (20 Cm) | bh | 2570 | 50
243 | JTM | Material | Plastic Strap For JTR (30 Cm) | bh | 2680 | 50
244 | JTM | Material | Non Tension Joint Copper 50mm | bh | 33200 | 68.17
245 | JTM | Material | Non Tension Joint Copper 70mm | bh | 48230 | 68.17
246 | JTM | Material | Non Tension Joint Copper 95mm | bh | 58730 | 68.17
247 | JTM | Material | Non Tension Joint Copper 150mm | bh | 83620 | 68.17
248 | JTM | Material | Compression Repair Sleeve 35mm | bh | 101590 | 50
249 | JTM | Material | Compression Repair Sleeve 70mm | bh | 137790 | 50
250 | JTM | Material | Compression Repair Sleeve 150mm | bh | 174130 | 50
251 | JTM | Material | Jumper Type C Copper 35-70 mm | bh | 38100 | 50
252 | JTM | Material | Copper Compression Ground Rod Connector 5/8" 50 mm | bh | 27300 | 50
253 | JTM | Material | Copper Compression Ground Rod Connector 5/8" 70 mm | bh | 37100 | 50
254 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 25mm | bh | 24570 | 50
255 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 35mm | bh | 24600 | 50
256 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 50mm | bh | 28980 | 50
257 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 70mm | bh | 28980 | 50
258 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 120mm | bh | 43500 | 50
259 | JTM | Material | Heatshrink / Isolasi Bakar Hitam/warna 150mm | bh | 43500 | 50
260 | JTM | Material | Socket Galvanized 5" | bh | 555740 | 31.66
261 | JTM | Material | Central Bracket + Mur Baut | set | 122600 | 50
262 | JTM | Material | Slide Bracket + Mur Baut | set | 117300 | 50
263 | JTM | Material | Cable Tray (20x30 cm) | bh | 494180 | 40.88

## satuan_id
satuan_id | singkatan | kepanjangan
1 | plg | Pelanggan
2 | bh | Buah
3 | set | Set
4 | titik | Titik
5 | kg | Kilogram
6 | Rp/Ton.km | Rupiah per Tonase
7 | Pohon | Pohon
8 | meter | Meter
9 | lubang | Lubang
10 | btg | Batang
11 | Kms | Kilometer sirkit
12 | panel | Panel
13 | ls | Lumpsum
14 | gawang | Gawang
15 | gr | Gram
16 | roll | Roll
17 | sel | Sel
18 | liter | Liter
19 | gardu | Gardu

## khs_id
id | jenis_khs | nama_pekerjaan
1 | SP-APP | Pengadaan Jasa Konstruksi dan Pemeliharaan SP & APP Dengan Pola Kesepakatan Harga Satuan (KHS) Tahun 2020/2021
2 | JTM | Pengadaan Jasa Konstruksi dan Pemeliharaan JTM, Gardu Distribusi, JTR Dengan Pola Kesepakatan Harga Satuan (KHS) Tahun 2020/2021